Third Party Asset Connection – Justification Form

Following the publication of Dŵr Cymru Welsh Water’s Surface Water Management Position in April 2025, North Wales Local Authorities have been working collaboratively to streamline the statutory consultation process between SuDS Approval Bodies and relevant parties during the SAB Approval process. To support SAB applications which propose to discharge to third party assets, the following Justification Form has been developed. Applicants or their Agents are requested to complete this form with sufficient detail and supporting evidence to demonstrate that their surface water drainage proposals comply with the Welsh Government ‘Statutory Standards for Sustainable Drainage Systems’. In particular, the SAB requires that the Applicant / Agent complete the below tables as thoroughly as possible to confirm that the proposed surface water runoff destination aligns with the drainage hierarchy outlined in Standard S1 of the Statutory Standards.

Site Details

| Application Title: |  |
| --- | --- |
| Application Reference: |  |
| Surface Water Discharge Location: |  |
| Are there Third Party Assets Present On-site? |  |
| Revision: |  |

Priority Level 1: Surface water runoff is collected for use

| Will surface water be collected for use? | YES / NO |
| --- | --- |
| If not, please justify. |  |
| Refer to relevant items of supporting information (e.g. evidence, technical documents, plans and drawings etc.) |  |

Priority Level 2: Surface water runoff is infiltrated to ground

| Will surface water be infiltrated to ground? | YES / NO |
| --- | --- |
| If yes, please provide evidence that use of infiltration is viable. BRE365 compliant testing and ground investigation report. |  |
| If not, please justify. |  |
| Refer to relevant items of supporting information (e.g. evidence, technical documents, plans and drawings etc.) |  |

Priority Level 3: Surface water runoff is discharged to a surface water body

| Will surface water be discharged to a surface water body? | YES / NO |
| --- | --- |
| If yes, and a connection across third party land is proposed, please provide evidence that permission for the proposed works has been obtained from the landowner. |  |
| If not, please provide justification, including details such as the distance to the nearest surface water body, as well as any other relevant factors explaining why a connection is not feasible. |  |
| Refer to relevant items of supporting information (e.g. evidence, technical documents, plans and drawings etc.) |  |

Priority Level 4: Surface water runoff is discharged to a surface water sewer, highway drain, or another drainage system

| Will surface water be discharged to a surface water sewer, highway drain or another drainage system? | YES / NO |
| --- | --- |
| If yes, please provide details of the system into which you intend to discharge, along with a justification for the chosen outfall. Where possible, identify the ownership of the drainage system (e.g., public sewer, NMWTRA highway drainage, or local authority adopted highway drainage). |  |
| If yes, and a new surface water sewer across third party land is proposed, please provide evidence that permission for the proposed sewer has been obtained. |  |
| If not, please provide a justification, including details such as the distance to the nearest surface water drain, surface water sewer, or highway drainage, as well as any other relevant factors explaining why a connection is not feasible. |  |
| Refer to relevant items of supporting information (e.g. evidence, technical documents, plans and drawings etc.) |  |

Priority Level 5: Surface water runoff is discharged to a combined sewer.

| Will surface water be discharged to a combined sewer? | YES / NO |
| --- | --- |
| If yes, please provide details of the system into which you intend to discharge and a justification for the chosen outfall. |  |
| If yes, and a connection across third party land is proposed, please provide evidence that permission for the proposed works has been obtained from the landowner. |  |

Additional Considerations:

Feasibility Investigations: DCWW is likely to request an investigation into the feasibility of connecting to any available highway sewer system or other drainage systems before permitting discharge to their assets.

Evidence of Connectivity: DCWW may also request evidence confirming connectivity to their assets. For example, if an untraced sewer from a site is involved, confirmation of the connection will be required. Applicants can obtain copies of DCWW sewer records through their website.

Highway Drainage Claims: If it is claimed that discharge to highway drainage is not an option because it ultimately connects to a combined system, supporting evidence (e.g., CCTV survey) may be required.

Highway Drainage Connection: Highway drainage systems are designed and built to accept flows from just the highway, therefore any additional capacity for private development flows may need to be evidenced. Where a potential connection to a highway drain is considered, developers are encouraged to seek specific advice and approval from the relevant authority.

Public Sewer Connections: Where a connection to a public sewer (either surface water or combined) is proposed, details of existing and proposed contributing areas and discharge rates will be required. Please note that DCWW may also require a sectional drawing of the proposed connection to their asset.

Third Party Assets

| If any third party assets fall within the application boundary, provide a summary of the measures taken to accommodate these assets or mitigate potential impacts on them. |  |
| --- | --- |

Mae’r ddogfen hon ar gael yn Gymraeg hefyd.